## Input
CCPP Power Plant in Base Load Mode
Currency | EUR | Project Description: Coal fired Power Plant
Start Date | 2005-01-01
Period under Review [Years] | 22
Discount Rate | 10%
Date for Present Value | 2005-01-01
Income Tax Rate | 35%
Power |  | Value |  | Investment |  |  | Payment Schedule
Electrical Net Power | MW | 700 |  | Investment Volume | mill. EUR | 320
El. Full Load oper. Hours | h/a | 7500 | 86% NCF | Lifetime |  |  | Months bef. Comm.
El. net Efficiency | % | 54% | 6667 kJ/kWh | Hand over (End of Commiss.) | Date | 2007-01-01
Operating Costs |  | Value | Incrs. | Lifetime from Commiss. | Years | 20
Personnel | mill. EUR/a | 2.5 | 3% | Tax Depreciation Time | Years | 15
Insurance | mill. EUR/a | 2 |  | Financing |  |  |  | -16 | 10%
Fixed Maintenance | mill. EUR/a | 13 | 3% | Debt Share 1 | --- | 40% |  | -6 | 20%
Other Costs A | mill. EUR/a |  |  | Debt Interest Rate | --- | 8% |  | -2 | 20%
Other Costs B | mill. EUR/a |  |  | Start of Debt Service | Date | 2009-01-01 |  | -1 | 10%
Variable Maintenance | EUR/MWh | 0.1 | 3% | Debt Service | Years | 15 | Months after Comm. | 1 | 10%
Fuel | EUR/GJ | 2.5 | 2% | Debt Share 2 | --- |  |  | 13 | 30%
Consumables | EUR/MWh | 0.25 | 2% | Debt Interest Rate | ---
Operating Revenues |  | Value | Incrs. | Start of Debt Service | Date
Fixed Revenues Electricity | mill. EUR/a |  |  | Debt Service | Years
Other Revenues D | mill. EUR/a |  |  | Calc. Equity Costs
Other Revenues E | mill. EUR/a |  |  | Equity Share | --- | 60%
Other Revenues F | mill. EUR/a |  |  | Interest Rate | --- | 10%
Variable Rev. Electr. | EUR/MWh | 32 | 2% | Equity Service | Years | 15 | Total |  | 100%
Note on B4: Spemann: Start is always 1st Jan
Note on B20: BTU - GJ: 1 GJ = 0.9478 mBTU 1 mBTU = 1.0551 GJ
Note on C11: 85,62% Net Capacity Factor
Note on C12: 6666,7 kJ/kWh 54,00%
Note on C15: 0,381 EUR/MWh
Note on C16: 2,476 EUR/MWh
Note on C20: 2,6376 EUR/mBTU 2,5000 EUR/GJ
Note on G10: 457,143 EUR/kW

## Results CF
CCPP Power Plant in Base Load Mode
Investment |  |  | Net Present Value at 1.1.2005 | mill. EUR | 168.1353
Debt | mill. EUR | 128 | Internal Rate of Return till 2015 | % / a | 20.63%
Equity | mill. EUR | 192 | Internal Rate of Return till 2026 | % / a | 25.81%
Capital Requirement | mill. EUR | 320 | Pay Off Time from 1.1.2007 |  | 5.5545
mill. EUR |  | Cash Flow and Net Present Value

## Results EPC
CCPP Power Plant in Base Load Mode
Electricity Production Cost |  | Levelized | 2005 | 2006 | 2007 | 2008 | 2009
Capital Costs | EUR/MWh | 5.5118 | 0 | 0 | 0 | 0 | 7.465
Fixed Operating Costs | EUR/MWh | 4.2257 | 0 | 0 | 3.5131 | 3.6071 | 3.7039
Variable Operating Costs | EUR/MWh | 20.2638 | 0 | 0 | 17.7062 | 18.0614 | 18.4237
Credit Note from Heat | EUR/MWh | 0 | 0 | 0 | 0 | 0 | 0
Electricity Production Cost | EUR/MWh | 30.0013 | 0 | 0 | 21.2193 | 21.6685 | 29.5926
EUR/MWh |  | Electricity Production Cost

## OR
CCPP Power Plant in Base Load Mode
Operating Result | mill. EUR | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
Operating Revenues | Present value
#REF!
Fixed Revenues Electricity - Then
Fixed Revenues Electricity
#REF!
#REF!
#REF!
Other Revenues D - Then
Other Revenues D
#REF!
Other Revenues E - Then
Other Revenues E
#REF!
Other Revenues F - Then
Other Revenues F
Operating Revenues (Fix)
#REF!
Variable Rev. Electr. - Then | 1470.1965 | 2007: 174.7872; 2008: 178.2829; 2009: 181.8486; 2010: 185.4856; 2011: 189.1953; 2012: 192.9792; 2013: 196.8388; 2014: 200.7756; 2015: 204.7911; 2016: 208.8869; 2017: 213.0646; 2018: 217.3259; 2019: 221.6724; 2020: 226.1059; 2021: 230.628; 2022: 235.2406; 2023: 239.9454; 2024: 244.7443; 2025: 249.6392; 2026: 254.6319
Variable Rev. Electr. | 1470.1965 | 2007: 174.7872; 2008: 178.2829; 2009: 181.8486; 2010: 185.4856; 2011: 189.1953; 2012: 192.9792; 2013: 196.8388; 2014: 200.7756; 2015: 204.7911; 2016: 208.8869; 2017: 213.0646; 2018: 217.3259; 2019: 221.6724; 2020: 226.1059; 2021: 230.628; 2022: 235.2406; 2023: 239.9454; 2024: 244.7443; 2025: 249.6392; 2026: 254.6319
#REF!
#REF!
Operating Revenues (Variab.) | 1470.1965 | 2007: 174.7872; 2008: 178.2829; 2009: 181.8486; 2010: 185.4856; 2011: 189.1953; 2012: 192.9792; 2013: 196.8388; 2014: 200.7756; 2015: 204.7911; 2016: 208.8869; 2017: 213.0646; 2018: 217.3259; 2019: 221.6724; 2020: 226.1059; 2021: 230.628; 2022: 235.2406; 2023: 239.9454; 2024: 244.7443; 2025: 249.6392; 2026: 254.6319
Operating Revenues | 1470.1965 | 2007: 174.7872; 2008: 178.2829; 2009: 181.8486; 2010: 185.4856; 2011: 189.1953; 2012: 192.9792; 2013: 196.8388; 2014: 200.7756; 2015: 204.7911; 2016: 208.8869; 2017: 213.0646; 2018: 217.3259; 2019: 221.6724; 2020: 226.1059; 2021: 230.628; 2022: 235.2406; 2023: 239.9454; 2024: 244.7443; 2025: 249.6392; 2026: 254.6319
Operating Costs
#REF!
Personnel - Then | 23.9387 | 2007: 2.6522; 2008: 2.7318; 2009: 2.8138; 2010: 2.8982; 2011: 2.9851; 2012: 3.0747; 2013: 3.1669; 2014: 3.2619; 2015: 3.3598; 2016: 3.4606; 2017: 3.5644; 2018: 3.6713; 2019: 3.7815; 2020: 3.8949; 2021: 4.0118; 2022: 4.1321; 2023: 4.2561; 2024: 4.3838; 2025: 4.5153; 2026: 4.6507
Personnel | 23.9387 | 2007: 2.6522; 2008: 2.7318; 2009: 2.8138; 2010: 2.8982; 2011: 2.9851; 2012: 3.0747; 2013: 3.1669; 2014: 3.2619; 2015: 3.3598; 2016: 3.4606; 2017: 3.5644; 2018: 3.6713; 2019: 3.7815; 2020: 3.8949; 2021: 4.0118; 2022: 4.1321; 2023: 4.2561; 2024: 4.3838; 2025: 4.5153; 2026: 4.6507
#REF!
Insurance - Then | 14.7059 | 2007: 2; 2008: 2; 2009: 2; 2010: 2; 2011: 2; 2012: 2; 2013: 2; 2014: 2; 2015: 2; 2016: 2; 2017: 2; 2018: 2; 2019: 2; 2020: 2; 2021: 2; 2022: 2; 2023: 2; 2024: 2; 2025: 2; 2026: 2
Insurance | 14.7059 | 2007: 2; 2008: 2; 2009: 2; 2010: 2; 2011: 2; 2012: 2; 2013: 2; 2014: 2; 2015: 2; 2016: 2; 2017: 2; 2018: 2; 2019: 2; 2020: 2; 2021: 2; 2022: 2; 2023: 2; 2024: 2; 2025: 2; 2026: 2
#REF!
Fixed Maintenance - Then | 124.481 | 2007: 13.7917; 2008: 14.2055; 2009: 14.6316; 2010: 15.0706; 2011: 15.5227; 2012: 15.9884; 2013: 16.468; 2014: 16.9621; 2015: 17.4709; 2016: 17.995; 2017: 18.5349; 2018: 19.0909; 2019: 19.6637; 2020: 20.2536; 2021: 20.8612; 2022: 21.487; 2023: 22.1316; 2024: 22.7956; 2025: 23.4794; 2026: 24.1838
Fixed Maintenance | 124.481 | 2007: 13.7917; 2008: 14.2055; 2009: 14.6316; 2010: 15.0706; 2011: 15.5227; 2012: 15.9884; 2013: 16.468; 2014: 16.9621; 2015: 17.4709; 2016: 17.995; 2017: 18.5349; 2018: 19.0909; 2019: 19.6637; 2020: 20.2536; 2021: 20.8612; 2022: 21.487; 2023: 22.1316; 2024: 22.7956; 2025: 23.4794; 2026: 24.1838
#REF!
Other Costs A - Then
Other Costs A
#REF!
Other Costs B - Then
Other Costs B
Operating Costs (Fix) | 163.1256 | 2007: 18.444; 2008: 18.9373; 2009: 19.4454; 2010: 19.9687; 2011: 20.5078; 2012: 21.063; 2013: 21.6349; 2014: 22.224; 2015: 22.8307; 2016: 23.4556; 2017: 24.0993; 2018: 24.7623; 2019: 25.4451; 2020: 26.1485; 2021: 26.8729; 2022: 27.6191; 2023: 28.3877; 2024: 29.1793; 2025: 29.9947; 2026: 30.8346
#REF!
Variable Maintenance - Then | 5.0271 | 2007: 0.55697; 2008: 0.57368; 2009: 0.59089; 2010: 0.60862; 2011: 0.62688; 2012: 0.64568; 2013: 0.66505; 2014: 0.68501; 2015: 0.70556; 2016: 0.72672; 2017: 0.74852; 2018: 0.77098; 2019: 0.79411; 2020: 0.81793; 2021: 0.84247; 2022: 0.86775; 2023: 0.89378; 2024: 0.92059; 2025: 0.94821; 2026: 0.97665
Variable Maintenance | 5.0271 | 2007: 0.55697; 2008: 0.57368; 2009: 0.59089; 2010: 0.60862; 2011: 0.62688; 2012: 0.64568; 2013: 0.66505; 2014: 0.68501; 2015: 0.70556; 2016: 0.72672; 2017: 0.74852; 2018: 0.77098; 2019: 0.79411; 2020: 0.81793; 2021: 0.84247; 2022: 0.86775; 2023: 0.89378; 2024: 0.92059; 2025: 0.94821; 2026: 0.97665
#REF!
Fuel - Then | 765.7273 | 2007: 91.035; 2008: 92.8557; 2009: 94.7128; 2010: 96.6071; 2011: 98.5392; 2012: 100.51; 2013: 102.5202; 2014: 104.5706; 2015: 106.662; 2016: 108.7953; 2017: 110.9712; 2018: 113.1906; 2019: 115.4544; 2020: 117.7635; 2021: 120.1187; 2022: 122.5211; 2023: 124.9715; 2024: 127.471; 2025: 130.0204; 2026: 132.6208
Fuel | 765.7273 | 2007: 91.035; 2008: 92.8557; 2009: 94.7128; 2010: 96.6071; 2011: 98.5392; 2012: 100.51; 2013: 102.5202; 2014: 104.5706; 2015: 106.662; 2016: 108.7953; 2017: 110.9712; 2018: 113.1906; 2019: 115.4544; 2020: 117.7635; 2021: 120.1187; 2022: 122.5211; 2023: 124.9715; 2024: 127.471; 2025: 130.0204; 2026: 132.6208
#REF!
Consumables - Then | 11.4859 | 2007: 1.3655; 2008: 1.3928; 2009: 1.4207; 2010: 1.4491; 2011: 1.4781; 2012: 1.5076; 2013: 1.5378; 2014: 1.5686; 2015: 1.5999; 2016: 1.6319; 2017: 1.6646; 2018: 1.6979; 2019: 1.7318; 2020: 1.7665; 2021: 1.8018; 2022: 1.8378; 2023: 1.8746; 2024: 1.9121; 2025: 1.9503; 2026: 1.9893
Consumables | 11.4859 | 2007: 1.3655; 2008: 1.3928; 2009: 1.4207; 2010: 1.4491; 2011: 1.4781; 2012: 1.5076; 2013: 1.5378; 2014: 1.5686; 2015: 1.5999; 2016: 1.6319; 2017: 1.6646; 2018: 1.6979; 2019: 1.7318; 2020: 1.7665; 2021: 1.8018; 2022: 1.8378; 2023: 1.8746; 2024: 1.9121; 2025: 1.9503; 2026: 1.9893
Operating Costs (Variab.) | 782.2404 | 2007: 92.9575; 2008: 94.8222; 2009: 96.7244; 2010: 98.6648; 2011: 100.6442; 2012: 102.6633; 2013: 104.7231; 2014: 106.8242; 2015: 108.9675; 2016: 111.1539; 2017: 113.3842; 2018: 115.6594; 2019: 117.9803; 2020: 120.3479; 2021: 122.763; 2022: 125.2267; 2023: 127.7399; 2024: 130.3036; 2025: 132.9189; 2026: 135.5868
Operating Costs | 945.366 | 2007: 111.4014; 2008: 113.7595; 2009: 116.1698; 2010: 118.6335; 2011: 121.152; 2012: 123.7264; 2013: 126.358; 2014: 129.0481; 2015: 131.7982; 2016: 134.6095; 2017: 137.4835; 2018: 140.4217; 2019: 143.4255; 2020: 146.4964; 2021: 149.636; 2022: 152.8458; 2023: 156.1276; 2024: 159.483; 2025: 162.9136; 2026: 166.4213
Operating Result
Operating Result | 524.8305 | 2007: 63.3858; 2008: 64.5235; 2009: 65.6788; 2010: 66.852; 2011: 68.0433; 2012: 69.2528; 2013: 70.4808; 2014: 71.7274; 2015: 72.9929; 2016: 74.2774; 2017: 75.5811; 2018: 76.9042; 2019: 78.247; 2020: 79.6095; 2021: 80.992; 2022: 82.3947; 2023: 83.8178; 2024: 85.2613; 2025: 86.7255; 2026: 88.2106

## RoI
CCPP Power Plant in Base Load Mode
| Return on Investment | mill. EUR | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
| Investment | Present value
| Equity | 156.9644 | 2005: 19.2; 2006: 96; 2007: 19.2; 2008: 57.6
| Debt | 104.643 | 2005: 12.8; 2006: 64; 2007: 12.8; 2008: 38.4
Interest during construction
| Investment Volume | 261.6074 | 2005: 32; 2006: 160; 2007: 32; 2008: 96
Debt Service
| Debt Payback | 40.4564 | 2009: 4.7142; 2010: 5.0913; 2011: 5.4986; 2012: 5.9385; 2013: 6.4136; 2014: 6.9267; 2015: 7.4808; 2016: 8.0793; 2017: 8.7256; 2018: 9.4237; 2019: 10.1776; 2020: 10.9918; 2021: 11.8711; 2022: 12.8208; 2023: 13.8465
| Debt Interest | 37.8978 | 2009: 9.7182; 2010: 9.341; 2011: 8.9337; 2012: 8.4938; 2013: 8.0188; 2014: 7.5057; 2015: 6.9515; 2016: 6.3531; 2017: 5.7067; 2018: 5.0087; 2019: 4.2548; 2020: 3.4406; 2021: 2.5612; 2022: 1.6115; 2023: 0.58588
| Debt Service | 78.3542 | 2009: 14.4323; 2010: 14.4323; 2011: 14.4323; 2012: 14.4323; 2013: 14.4323; 2014: 14.4323; 2015: 14.4323; 2016: 14.4323; 2017: 14.4323; 2018: 14.4323; 2019: 14.4323; 2020: 14.4323; 2021: 14.4323; 2022: 14.4323; 2023: 14.4323
Income Tax Rate and Profit
| Operating Result | 524.8305 | 2007: 63.3858; 2008: 64.5235; 2009: 65.6788; 2010: 66.852; 2011: 68.0433; 2012: 69.2528; 2013: 70.4808; 2014: 71.7274; 2015: 72.9929; 2016: 74.2774; 2017: 75.5811; 2018: 76.9042; 2019: 78.247; 2020: 79.6095; 2021: 80.992; 2022: 82.3947; 2023: 83.8178; 2024: 85.2613; 2025: 86.7255; 2026: 88.2106
| Depreciation | -140.1422 | 2007: -21.3333; 2008: -21.3333; 2009: -21.3333; 2010: -21.3333; 2011: -21.3333; 2012: -21.3333; 2013: -21.3333; 2014: -21.3333; 2015: -21.3333; 2016: -21.3333; 2017: -21.3333; 2018: -21.3333; 2019: -21.3333; 2020: -21.3333; 2021: -21.3333
| Debt Interest | -37.8978 | 2009: -9.7182; 2010: -9.341; 2011: -8.9337; 2012: -8.4938; 2013: -8.0188; 2014: -7.5057; 2015: -6.9515; 2016: -6.3531; 2017: -5.7067; 2018: -5.0087; 2019: -4.2548; 2020: -3.4406; 2021: -2.5612; 2022: -1.6115; 2023: -0.58588
| Profit before Tax | 346.7905 | 2007: 42.0524; 2008: 43.1901; 2009: 34.6273; 2010: 36.1777; 2011: 37.7762; 2012: 39.4256; 2013: 41.1287; 2014: 42.8884; 2015: 44.708; 2016: 46.591; 2017: 48.541; 2018: 50.5622; 2019: 52.6589; 2020: 54.8356; 2021: 57.0975; 2022: 80.7832; 2023: 83.2319; 2024: 85.2613; 2025: 86.7255; 2026: 88.2106
1 | Income Tax | -121.3767 | 2007: -14.7183; 2008: -15.1165; 2009: -12.1196; 2010: -12.6622; 2011: -13.2217; 2012: -13.799; 2013: -14.395; 2014: -15.0109; 2015: -15.6478; 2016: -16.3068; 2017: -16.9894; 2018: -17.6968; 2019: -18.4306; 2020: -19.1925; 2021: -19.9841; 2022: -28.2741; 2023: -29.1312; 2024: -29.8415; 2025: -30.3539; 2026: -30.8737
1 | Profit after Tax | 225.4138 | 2007: 27.3341; 2008: 28.0736; 2009: 22.5078; 2010: 23.5155; 2011: 24.5546; 2012: 25.6267; 2013: 26.7337; 2014: 27.8775; 2015: 29.0602; 2016: 30.2841; 2017: 31.5517; 2018: 32.8654; 2019: 34.2283; 2020: 35.6431; 2021: 37.1134; 2022: 52.5091; 2023: 54.1007; 2024: 55.4198; 2025: 56.3716; 2026: 57.3369
TRUE
TRUE | Cash Flow
0 | Fixed Revenues Electricity
0 | #REF!
0 | Other Revenues D
0 | Other Revenues E
0 | Other Revenues F
0 | Operating Revenues (Fix)
1 | Variable Rev. Electr. | 1470.1965 | 2007: 174.7872; 2008: 178.2829; 2009: 181.8486; 2010: 185.4856; 2011: 189.1953; 2012: 192.9792; 2013: 196.8388; 2014: 200.7756; 2015: 204.7911; 2016: 208.8869; 2017: 213.0646; 2018: 217.3259; 2019: 221.6724; 2020: 226.1059; 2021: 230.628; 2022: 235.2406; 2023: 239.9454; 2024: 244.7443; 2025: 249.6392; 2026: 254.6319
0
1 | Operating Revenues (Variab.) | 1470.1965 | 2007: 174.7872; 2008: 178.2829; 2009: 181.8486; 2010: 185.4856; 2011: 189.1953; 2012: 192.9792; 2013: 196.8388; 2014: 200.7756; 2015: 204.7911; 2016: 208.8869; 2017: 213.0646; 2018: 217.3259; 2019: 221.6724; 2020: 226.1059; 2021: 230.628; 2022: 235.2406; 2023: 239.9454; 2024: 244.7443; 2025: 249.6392; 2026: 254.6319
TRUE | Operating Revenues | 1470.1965 | 2007: 174.7872; 2008: 178.2829; 2009: 181.8486; 2010: 185.4856; 2011: 189.1953; 2012: 192.9792; 2013: 196.8388; 2014: 200.7756; 2015: 204.7911; 2016: 208.8869; 2017: 213.0646; 2018: 217.3259; 2019: 221.6724; 2020: 226.1059; 2021: 230.628; 2022: 235.2406; 2023: 239.9454; 2024: 244.7443; 2025: 249.6392; 2026: 254.6319
1 | Personnel | -23.9387 | 2007: -2.6522; 2008: -2.7318; 2009: -2.8138; 2010: -2.8982; 2011: -2.9851; 2012: -3.0747; 2013: -3.1669; 2014: -3.2619; 2015: -3.3598; 2016: -3.4606; 2017: -3.5644; 2018: -3.6713; 2019: -3.7815; 2020: -3.8949; 2021: -4.0118; 2022: -4.1321; 2023: -4.2561; 2024: -4.3838; 2025: -4.5153; 2026: -4.6507
1 | Insurance | -14.7059 | bar: 2007 to 2026
1 | Fixed Maintenance | -124.481 | 2007: -13.7917; 2008: -14.2055; 2009: -14.6316; 2010: -15.0706; 2011: -15.5227; 2012: -15.9884; 2013: -16.468; 2014: -16.9621; 2015: -17.4709; 2016: -17.995; 2017: -18.5349; 2018: -19.0909; 2019: -19.6637; 2020: -20.2536; 2021: -20.8612; 2022: -21.487; 2023: -22.1316; 2024: -22.7956; 2025: -23.4794; 2026: -24.1838
0 | Other Costs A
0 | Other Costs B
1 | Operating Costs (Fix) | -163.1256 | 2007: -18.444; 2008: -18.9373; 2009: -19.4454; 2010: -19.9687; 2011: -20.5078; 2012: -21.063; 2013: -21.6349; 2014: -22.224; 2015: -22.8307; 2016: -23.4556; 2017: -24.0993; 2018: -24.7623; 2019: -25.4451; 2020: -26.1485; 2021: -26.8729; 2022: -27.6191; 2023: -28.3877; 2024: -29.1793; 2025: -29.9947; 2026: -30.8346
1 | Variable Maintenance | -5.0271 | 2007: -0.55697; 2008: -0.57368; 2009: -0.59089; 2010: -0.60862; 2011: -0.62688; 2012: -0.64568; 2013: -0.66505; 2014: -0.68501; 2015: -0.70556; 2016: -0.72672; 2017: -0.74852; 2018: -0.77098; 2019: -0.79411; 2020: -0.81793; 2021: -0.84247; 2022: -0.86775; 2023: -0.89378; 2024: -0.92059; 2025: -0.94821; 2026: -0.97665
1 | Fuel | -765.7273 | 2007: -91.035; 2008: -92.8557; 2009: -94.7128; 2010: -96.6071; 2011: -98.5392; 2012: -100.51; 2013: -102.5202; 2014: -104.5706; 2015: -106.662; 2016: -108.7953; 2017: -110.9712; 2018: -113.1906; 2019: -115.4544; 2020: -117.7635; 2021: -120.1187; 2022: -122.5211; 2023: -124.9715; 2024: -127.471; 2025: -130.0204; 2026: -132.6208
1 | Consumables | -11.4859 | 2007: -1.3655; 2008: -1.3928; 2009: -1.4207; 2010: -1.4491; 2011: -1.4781; 2012: -1.5076; 2013: -1.5378; 2014: -1.5686; 2015: -1.5999; 2016: -1.6319; 2017: -1.6646; 2018: -1.6979; 2019: -1.7318; 2020: -1.7665; 2021: -1.8018; 2022: -1.8378; 2023: -1.8746; 2024: -1.9121; 2025: -1.9503; 2026: -1.9893
1 | Operating Costs (Variab.) | -782.2404 | 2007: -92.9575; 2008: -94.8222; 2009: -96.7244; 2010: -98.6648; 2011: -100.6442; 2012: -102.6633; 2013: -104.7231; 2014: -106.8242; 2015: -108.9675; 2016: -111.1539; 2017: -113.3842; 2018: -115.6594; 2019: -117.9803; 2020: -120.3479; 2021: -122.763; 2022: -125.2267; 2023: -127.7399; 2024: -130.3036; 2025: -132.9189; 2026: -135.5868
TRUE | Operating Costs | -945.366 | 2007: -111.4014; 2008: -113.7595; 2009: -116.1698; 2010: -118.6335; 2011: -121.152; 2012: -123.7264; 2013: -126.358; 2014: -129.0481; 2015: -131.7982; 2016: -134.6095; 2017: -137.4835; 2018: -140.4217; 2019: -143.4255; 2020: -146.4964; 2021: -149.636; 2022: -152.8458; 2023: -156.1276; 2024: -159.483; 2025: -162.9136; 2026: -166.4213
1 | Investment Volume | -261.6074 | 2005: -32; 2006: -160; 2007: -32; 2008: -96
1 | Income from Credit | 104.643 | 2005: 12.8; 2006: 64; 2007: 12.8; 2008: 38.4
1 | Debt Service | -78.3542 | 2009: -14.4323; 2010: -14.4323; 2011: -14.4323; 2012: -14.4323; 2013: -14.4323; 2014: -14.4323; 2015: -14.4323; 2016: -14.4323; 2017: -14.4323; 2018: -14.4323; 2019: -14.4323; 2020: -14.4323; 2021: -14.4323; 2022: -14.4323; 2023: -14.4323
1 | Income Tax | -121.3767 | 2007: -14.7183; 2008: -15.1165; 2009: -12.1196; 2010: -12.6622; 2011: -13.2217; 2012: -13.799; 2013: -14.395; 2014: -15.0109; 2015: -15.6478; 2016: -16.3068; 2017: -16.9894; 2018: -17.6968; 2019: -18.4306; 2020: -19.1925; 2021: -19.9841; 2022: -28.2741; 2023: -29.1312; 2024: -29.8415; 2025: -30.3539; 2026: -30.8737
| Cash Flow | 168.1353 | 2005: -19.2; 2006: -96; 2007: 29.4674; 2008: -8.1931; 2009: 39.1269; 2010: 39.7575; 2011: 40.3893; 2012: 41.0215; 2013: 41.6534; 2014: 42.2841; 2015: 42.9127; 2016: 43.5382; 2017: 44.1594; 2018: 44.7751; 2019: 45.384; 2020: 45.9847; 2021: 46.5756; 2022: 39.6883; 2023: 40.2543; 2024: 55.4198; 2025: 56.3716; 2026: 57.3369
| Cash Flow, accumulated |  | 2005: -19.2; 2006: -115.2; 2007: -85.7326; 2008: -93.9257; 2009: -54.7988; 2010: -15.0413; 2011: 25.348; 2012: 66.3695; 2013: 108.0229; 2014: 150.307; 2015: 193.2197; 2016: 236.7579; 2017: 280.9173; 2018: 325.6924; 2019: 371.0764; 2020: 417.0611; 2021: 463.6367; 2022: 503.3249; 2023: 543.5792; 2024: 598.999; 2025: 655.3706; 2026: 712.7075
| Internal Rate of Return | 25.81% | 2011: 5.7%; 2012: 11.93%; 2013: 15.98%; 2014: 18.72%; 2015: 20.63%; 2016: 21.99%; 2017: 22.99%; 2018: 23.73%; 2019: 24.28%; 2020: 24.7%; 2021: 25.02%; 2022: 25.23%; 2023: 25.4%; 2024: 25.57%; 2025: 25.7%; 2026: 25.81%
| Present Value of Cash Flow | 168.1353 | 2005: -17.8754; 2006: -80.8776; 2007: 22.5939; 2008: -7.3281; 2009: 25.3897; 2010: 23.4536; 2011: 21.6603; 2012: 19.9995; 2013: 18.4614; 2014: 17.0373; 2015: 15.7187; 2016: 14.4981; 2017: 13.3681; 2018: 12.3223; 2019: 11.3545; 2020: 10.4589; 2021: 9.6303; 2022: 7.4603; 2023: 6.8789; 2024: 8.6089; 2025: 7.9607; 2026: 7.3609
| Net Present Value | 5.5545 | 2005: -17.8754; 2006: -98.753; 2007: -76.1591; 2008: -83.4872; 2009: -58.0975; 2010: -34.6439; 2011: -12.9836; 2012: 7.0159; 2013: 25.4773; 2014: 42.5146; 2015: 58.2333; 2016: 72.7314; 2017: 86.0995; 2018: 98.4219; 2019: 109.7764; 2020: 120.2353; 2021: 129.8657; 2022: 137.326; 2023: 144.2049; 2024: 152.8137; 2025: 160.7744; 2026: 168.1353
Debt Service Cover Ratio
| Operating Result |  | 2007: 63.3858; 2008: 64.5235; 2009: 65.6788; 2010: 66.852; 2011: 68.0433; 2012: 69.2528; 2013: 70.4808; 2014: 71.7274; 2015: 72.9929; 2016: 74.2774; 2017: 75.5811; 2018: 76.9042; 2019: 78.247; 2020: 79.6095; 2021: 80.992; 2022: 82.3947; 2023: 83.8178; 2024: 85.2613; 2025: 86.7255; 2026: 88.2106
| Income Tax |  | 2007: -14.7183; 2008: -15.1165; 2009: -12.1196; 2010: -12.6622; 2011: -13.2217; 2012: -13.799; 2013: -14.395; 2014: -15.0109; 2015: -15.6478; 2016: -16.3068; 2017: -16.9894; 2018: -17.6968; 2019: -18.4306; 2020: -19.1925; 2021: -19.9841; 2022: -28.2741; 2023: -29.1312; 2024: -29.8415; 2025: -30.3539; 2026: -30.8737
| Cash Flow for DSCR |  | 2007: 48.6674; 2008: 49.4069; 2009: 53.5593; 2010: 54.1898; 2011: 54.8216; 2012: 55.4538; 2013: 56.0857; 2014: 56.7165; 2015: 57.3451; 2016: 57.9705; 2017: 58.5917; 2018: 59.2074; 2019: 59.8164; 2020: 60.4171; 2021: 61.0079; 2022: 54.1206; 2023: 54.6866; 2024: 55.4198; 2025: 56.3716; 2026: 57.3369
| Debt Service |  | 2009: 14.4323; 2010: 14.4323; 2011: 14.4323; 2012: 14.4323; 2013: 14.4323; 2014: 14.4323; 2015: 14.4323; 2016: 14.4323; 2017: 14.4323; 2018: 14.4323; 2019: 14.4323; 2020: 14.4323; 2021: 14.4323; 2022: 14.4323; 2023: 14.4323
| Debt Service Cover Ratio |  | 2009: 3.7111; 2010: 3.7547; 2011: 3.7985; 2012: 3.8423; 2013: 3.8861; 2014: 3.9298; 2015: 3.9734; 2016: 4.0167; 2017: 4.0597; 2018: 4.1024; 2019: 4.1446; 2020: 4.1862; 2021: 4.2272; 2022: 3.75; 2023: 3.7892

## EPC
CCPP Power Plant in Base Load Mode
| Electricity Production Cost |  |  | 2005 | 2006 | 2007 | 2008 | 2009 | 2010 | 2011 | 2012 | 2013 | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030 | 2031 | 2032 | 2033 | 2034 | 2035 | 2036 | 2037 | 2038 | 2039 | 2040 | 2041 | 2042 | 2043 | 2044 | 2045 | 2046 | 2047 | 2048 | 2049 | 2050 | 2051 | 2052 | 2053 | 2054
1 | Capital Costs |  | Present value
1 | Equity | mill. EUR | 134.4177 | 2009: 24.7589; 2010: 24.7589; 2011: 24.7589; 2012: 24.7589; 2013: 24.7589; 2014: 24.7589; 2015: 24.7589; 2016: 24.7589; 2017: 24.7589; 2018: 24.7589; 2019: 24.7589; 2020: 24.7589; 2021: 24.7589; 2022: 24.7589; 2023: 24.7589
1 | Debt | mill. EUR | 78.3542 | 2009: 14.4323; 2010: 14.4323; 2011: 14.4323; 2012: 14.4323; 2013: 14.4323; 2014: 14.4323; 2015: 14.4323; 2016: 14.4323; 2017: 14.4323; 2018: 14.4323; 2019: 14.4323; 2020: 14.4323; 2021: 14.4323; 2022: 14.4323; 2023: 14.4323
1 | Capital Costs | mill. EUR | 212.7718 | 2009: 39.1913; 2010: 39.1913; 2011: 39.1913; 2012: 39.1913; 2013: 39.1913; 2014: 39.1913; 2015: 39.1913; 2016: 39.1913; 2017: 39.1913; 2018: 39.1913; 2019: 39.1913; 2020: 39.1913; 2021: 39.1913; 2022: 39.1913; 2023: 39.1913
TRUE | Operating Costs
1 | Personnel | mill. EUR | 23.9387 | 2007: 2.6522; 2008: 2.7318; 2009: 2.8138; 2010: 2.8982; 2011: 2.9851; 2012: 3.0747; 2013: 3.1669; 2014: 3.2619; 2015: 3.3598; 2016: 3.4606; 2017: 3.5644; 2018: 3.6713; 2019: 3.7815; 2020: 3.8949; 2021: 4.0118; 2022: 4.1321; 2023: 4.2561; 2024: 4.3838; 2025: 4.5153; 2026: 4.6507
1 | Insurance | mill. EUR | 14.7059 | 2007: 2; 2008: 2; 2009: 2; 2010: 2; 2011: 2; 2012: 2; 2013: 2; 2014: 2; 2015: 2; 2016: 2; 2017: 2; 2018: 2; 2019: 2; 2020: 2; 2021: 2; 2022: 2; 2023: 2; 2024: 2; 2025: 2; 2026: 2
1 | Fixed Maintenance | mill. EUR | 124.481 | 2007: 13.7917; 2008: 14.2055; 2009: 14.6316; 2010: 15.0706; 2011: 15.5227; 2012: 15.9884; 2013: 16.468; 2014: 16.9621; 2015: 17.4709; 2016: 17.995; 2017: 18.5349; 2018: 19.0909; 2019: 19.6637; 2020: 20.2536; 2021: 20.8612; 2022: 21.487; 2023: 22.1316; 2024: 22.7956; 2025: 23.4794; 2026: 24.1838
0 | Other Costs A | mill. EUR
0 | Other Costs B | mill. EUR
TRUE | Operating Costs (Fix) | mill. EUR | 163.1256 | 2007: 18.444; 2008: 18.9373; 2009: 19.4454; 2010: 19.9687; 2011: 20.5078; 2012: 21.063; 2013: 21.6349; 2014: 22.224; 2015: 22.8307; 2016: 23.4556; 2017: 24.0993; 2018: 24.7623; 2019: 25.4451; 2020: 26.1485; 2021: 26.8729; 2022: 27.6191; 2023: 28.3877; 2024: 29.1793; 2025: 29.9947; 2026: 30.8346
1 | Variable Maintenance | mill. EUR | 5.0271 | 2007: 0.55697; 2008: 0.57368; 2009: 0.59089; 2010: 0.60862; 2011: 0.62688; 2012: 0.64568; 2013: 0.66505; 2014: 0.68501; 2015: 0.70556; 2016: 0.72672; 2017: 0.74852; 2018: 0.77098; 2019: 0.79411; 2020: 0.81793; 2021: 0.84247; 2022: 0.86775; 2023: 0.89378; 2024: 0.92059; 2025: 0.94821; 2026: 0.97665
1 | Fuel | mill. EUR | 765.7273 | 2007: 91.035; 2008: 92.8557; 2009: 94.7128; 2010: 96.6071; 2011: 98.5392; 2012: 100.51; 2013: 102.5202; 2014: 104.5706; 2015: 106.662; 2016: 108.7953; 2017: 110.9712; 2018: 113.1906; 2019: 115.4544; 2020: 117.7635; 2021: 120.1187; 2022: 122.5211; 2023: 124.9715; 2024: 127.471; 2025: 130.0204; 2026: 132.6208
1 | Consumables | mill. EUR | 11.4859 | 2007: 1.3655; 2008: 1.3928; 2009: 1.4207; 2010: 1.4491; 2011: 1.4781; 2012: 1.5076; 2013: 1.5378; 2014: 1.5686; 2015: 1.5999; 2016: 1.6319; 2017: 1.6646; 2018: 1.6979; 2019: 1.7318; 2020: 1.7665; 2021: 1.8018; 2022: 1.8378; 2023: 1.8746; 2024: 1.9121; 2025: 1.9503; 2026: 1.9893
TRUE | Operating Costs (Variab.) | mill. EUR | 782.2404 | 2007: 92.9575; 2008: 94.8222; 2009: 96.7244; 2010: 98.6648; 2011: 100.6442; 2012: 102.6633; 2013: 104.7231; 2014: 106.8242; 2015: 108.9675; 2016: 111.1539; 2017: 113.3842; 2018: 115.6594; 2019: 117.9803; 2020: 120.3479; 2021: 122.763; 2022: 125.2267; 2023: 127.7399; 2024: 130.3036; 2025: 132.9189; 2026: 135.5868
TRUE | Operating Costs | mill. EUR | 945.366 | 2007: 111.4014; 2008: 113.7595; 2009: 116.1698; 2010: 118.6335; 2011: 121.152; 2012: 123.7264; 2013: 126.358; 2014: 129.0481; 2015: 131.7982; 2016: 134.6095; 2017: 137.4835; 2018: 140.4217; 2019: 143.4255; 2020: 146.4964; 2021: 149.636; 2022: 152.8458; 2023: 156.1276; 2024: 159.483; 2025: 162.9136; 2026: 166.4213
0 | Total Costs
0 | Capital Costs + Operating Costs | mill. EUR | 1158.1378 | 2007: 111.4014; 2008: 113.7595; 2009: 155.361; 2010: 157.8248; 2011: 160.3432; 2012: 162.9176; 2013: 165.5492; 2014: 168.2394; 2015: 170.9895; 2016: 173.8008; 2017: 176.6748; 2018: 179.6129; 2019: 182.6167; 2020: 185.6876; 2021: 188.8272; 2022: 192.0371; 2023: 195.3189; 2024: 159.483; 2025: 162.9136; 2026: 166.4213
0
0
0
0
TRUE | Electricity Production Cost
TRUE | Electricity Production Cost | mill. EUR | 1158.1378 | 2007: 111.4014; 2008: 113.7595; 2009: 155.361; 2010: 157.8248; 2011: 160.3432; 2012: 162.9176; 2013: 165.5492; 2014: 168.2394; 2015: 170.9895; 2016: 173.8008; 2017: 176.6748; 2018: 179.6129; 2019: 182.6167; 2020: 185.6876; 2021: 188.8272; 2022: 192.0371; 2023: 195.3189; 2024: 159.483; 2025: 162.9136; 2026: 166.4213
TRUE
1 | Capital Costs |  | Levelized
1 | Equity | EUR/MWh | 3.4821 | 2009: 4.716; 2010: 4.716; 2011: 4.716; 2012: 4.716; 2013: 4.716; 2014: 4.716; 2015: 4.716; 2016: 4.716; 2017: 4.716; 2018: 4.716; 2019: 4.716; 2020: 4.716; 2021: 4.716; 2022: 4.716; 2023: 4.716
1 | Debt | EUR/MWh | 2.0297 | 2009: 2.749; 2010: 2.749; 2011: 2.749; 2012: 2.749; 2013: 2.749; 2014: 2.749; 2015: 2.749; 2016: 2.749; 2017: 2.749; 2018: 2.749; 2019: 2.749; 2020: 2.749; 2021: 2.749; 2022: 2.749; 2023: 2.749
1 | Capital Costs | EUR/MWh | 5.5118 | 2009: 7.465; 2010: 7.465; 2011: 7.465; 2012: 7.465; 2013: 7.465; 2014: 7.465; 2015: 7.465; 2016: 7.465; 2017: 7.465; 2018: 7.465; 2019: 7.465; 2020: 7.465; 2021: 7.465; 2022: 7.465; 2023: 7.465
TRUE | Operating Costs |  | Levelized
1 | Personnel | EUR/MWh | 0.62013 | 2007: 0.50519; 2008: 0.52035; 2009: 0.53596; 2010: 0.55204; 2011: 0.5686; 2012: 0.58565; 2013: 0.60322; 2014: 0.62132; 2015: 0.63996; 2016: 0.65916; 2017: 0.67893; 2018: 0.6993; 2019: 0.72028; 2020: 0.74189; 2021: 0.76415; 2022: 0.78707; 2023: 0.81068; 2024: 0.835; 2025: 0.86005; 2026: 0.88585
1 | Insurance | EUR/MWh | 0.38095 | 2007: 0.38095; 2008: 0.38095; 2009: 0.38095; 2010: 0.38095; 2011: 0.38095; 2012: 0.38095; 2013: 0.38095; 2014: 0.38095; 2015: 0.38095; 2016: 0.38095; 2017: 0.38095; 2018: 0.38095; 2019: 0.38095; 2020: 0.38095; 2021: 0.38095; 2022: 0.38095; 2023: 0.38095; 2024: 0.38095; 2025: 0.38095; 2026: 0.38095
1 | Fixed Maintenance | EUR/MWh | 3.2247 | 2007: 2.627; 2008: 2.7058; 2009: 2.787; 2010: 2.8706; 2011: 2.9567; 2012: 3.0454; 2013: 3.1368; 2014: 3.2309; 2015: 3.3278; 2016: 3.4276; 2017: 3.5305; 2018: 3.6364; 2019: 3.7455; 2020: 3.8578; 2021: 3.9736; 2022: 4.0928; 2023: 4.2155; 2024: 4.342; 2025: 4.4723; 2026: 4.6064
0 | Other Costs A | EUR/MWh
0 | Other Costs B | EUR/MWh
TRUE | Operating Costs (Fix) | EUR/MWh | 4.2257 | 2007: 3.5131; 2008: 3.6071; 2009: 3.7039; 2010: 3.8036; 2011: 3.9062; 2012: 4.012; 2013: 4.1209; 2014: 4.2331; 2015: 4.3487; 2016: 4.4677; 2017: 4.5903; 2018: 4.7166; 2019: 4.8467; 2020: 4.9807; 2021: 5.1187; 2022: 5.2608; 2023: 5.4072; 2024: 5.558; 2025: 5.7133; 2026: 5.8733
1 | Variable Maintenance | EUR/MWh | 0.13023 | 2007: 0.10609; 2008: 0.10927; 2009: 0.11255; 2010: 0.11593; 2011: 0.11941; 2012: 0.12299; 2013: 0.12668; 2014: 0.13048; 2015: 0.13439; 2016: 0.13842; 2017: 0.14258; 2018: 0.14685; 2019: 0.15126; 2020: 0.1558; 2021: 0.16047; 2022: 0.16528; 2023: 0.17024; 2024: 0.17535; 2025: 0.18061; 2026: 0.18603
1 | Fuel | EUR/MWh | 19.836 | 2007: 17.34; 2008: 17.6868; 2009: 18.0405; 2010: 18.4013; 2011: 18.7694; 2012: 19.1448; 2013: 19.5277; 2014: 19.9182; 2015: 20.3166; 2016: 20.7229; 2017: 21.1374; 2018: 21.5601; 2019: 21.9913; 2020: 22.4311; 2021: 22.8798; 2022: 23.3374; 2023: 23.8041; 2024: 24.2802; 2025: 24.7658; 2026: 25.2611
1 | Consumables | EUR/MWh | 0.29754 | 2007: 0.2601; 2008: 0.2653; 2009: 0.27061; 2010: 0.27602; 2011: 0.28154; 2012: 0.28717; 2013: 0.29291; 2014: 0.29877; 2015: 0.30475; 2016: 0.31084; 2017: 0.31706; 2018: 0.3234; 2019: 0.32987; 2020: 0.33647; 2021: 0.3432; 2022: 0.35006; 2023: 0.35706; 2024: 0.3642; 2025: 0.37149; 2026: 0.37892
TRUE | Operating Costs (Variab.) | EUR/MWh | 20.2638 | 2007: 17.7062; 2008: 18.0614; 2009: 18.4237; 2010: 18.7933; 2011: 19.1703; 2012: 19.5549; 2013: 19.9472; 2014: 20.3475; 2015: 20.7557; 2016: 21.1722; 2017: 21.597; 2018: 22.0304; 2019: 22.4724; 2020: 22.9234; 2021: 23.3834; 2022: 23.8527; 2023: 24.3314; 2024: 24.8197; 2025: 25.3179; 2026: 25.8261
TRUE | Operating Costs | EUR/MWh | 24.4895 | 2007: 21.2193; 2008: 21.6685; 2009: 22.1276; 2010: 22.5969; 2011: 23.0766; 2012: 23.5669; 2013: 24.0682; 2014: 24.5806; 2015: 25.1044; 2016: 25.6399; 2017: 26.1873; 2018: 26.747; 2019: 27.3191; 2020: 27.9041; 2021: 28.5021; 2022: 29.1135; 2023: 29.7386; 2024: 30.3777; 2025: 31.0312; 2026: 31.6993
0 | Total Costs
0 | Capital Costs + Operating Costs | EUR/MWh | 30.0013 | 2007: 21.2193; 2008: 21.6685; 2009: 29.5926; 2010: 30.0619; 2011: 30.5416; 2012: 31.0319; 2013: 31.5332; 2014: 32.0456; 2015: 32.5694; 2016: 33.1049; 2017: 33.6523; 2018: 34.212; 2019: 34.7841; 2020: 35.3691; 2021: 35.9671; 2022: 36.5785; 2023: 37.2036; 2024: 30.3777; 2025: 31.0312; 2026: 31.6993
0
0
0
0
TRUE | Electricity Production Cost |  | Levelized
TRUE | Electricity Production Cost | EUR/MWh | 30.0013 | 2007: 21.2193; 2008: 21.6685; 2009: 29.5926; 2010: 30.0619; 2011: 30.5416; 2012: 31.0319; 2013: 31.5332; 2014: 32.0456; 2015: 32.5694; 2016: 33.1049; 2017: 33.6523; 2018: 34.212; 2019: 34.7841; 2020: 35.3691; 2021: 35.9671; 2022: 36.5785; 2023: 37.2036; 2024: 30.3777; 2025: 31.0312; 2026: 31.6993
TRUE
TRUE | Electricity Production | MWh | 38602923.6931 | 2007: 5250000; 2008: 5250000; 2009: 5250000; 2010: 5250000; 2011: 5250000; 2012: 5250000; 2013: 5250000; 2014: 5250000; 2015: 5250000; 2016: 5250000; 2017: 5250000; 2018: 5250000; 2019: 5250000; 2020: 5250000; 2021: 5250000; 2022: 5250000; 2023: 5250000; 2024: 5250000; 2025: 5250000; 2026: 5250000
TRUE
TRUE | Variable Rev. Electr. | EUR/MWh | 38.0851 | 2007: 33.2928; 2008: 33.9587; 2009: 34.6378; 2010: 35.3306; 2011: 36.0372; 2012: 36.7579; 2013: 37.4931; 2014: 38.243; 2015: 39.0078; 2016: 39.788; 2017: 40.5837; 2018: 41.3954; 2019: 42.2233; 2020: 43.0678; 2021: 43.9291; 2022: 44.8077; 2023: 45.7039; 2024: 46.618; 2025: 47.5503; 2026: 48.5013

## Sensitivity
CCPP Power Plant in Base Load Mode
Sensitivity Analysis - Variable Rev. Electr.
mill. EUR | Net Present Value |  | X | Y |  | Internal Rate of Return |  | X | Y
|  |  | EUR/MWh | mill. EUR |  |  |  | EUR/MWh | %
|  |  | 30.2203 | 114.9863 |  |  |  | 30.2203 | 21.04%
|  |  | 31.8992 | 165.124 |  |  |  | 31.8992 | 25.54%
|  |  | 33.2423 | 205.2341 |  |  |  | 33.2423 | 29.11%
|  |  | 33.5781 | 215.2617 |  |  |  | 33.5781 | 30%
|  |  | 33.9138 | 225.2892 |  |  |  | 33.9138 | 30.89%
|  |  | 35.257 | 265.3994 |  |  |  | 35.257 | 34.46%
|  |  | 36.9359 | 315.5371 |  |  |  | 36.9359 | 38.95%
Variable Rev. Electr. |  | EUR/MWh |  |  | Variable Rev. Electr. |  | EUR/MWh
Years | Pay Off Time |  | X | Y | EUR/MWh | Electricity Production Cost |  | X | Y
|  |  | EUR/MWh | Years |  |  |  | EUR/MWh | EUR/MWh
|  |  | 30.2203 | 7.0886 |  |  |  | 30.2203 | 30.0013
|  |  | 31.8992 | 5.6234 |  |  |  | 31.8992 | 30.0013
|  |  | 33.2423 | 4.8307 |  |  |  | 33.2423 | 30.0013
|  |  | 33.5781 | 4.6652 |  |  |  | 33.5781 | 30.0013
|  |  | 33.9138 | 4.5111 |  |  |  | 33.9138 | 30.0013
|  |  | 35.257 | 3.9875 |  |  |  | 35.257 | 30.0013
|  |  | 36.9359 | 3.4784 |  |  |  | 36.9359 | 30.0013
Variable Rev. Electr. |  | EUR/MWh |  |  | Variable Rev. Electr. |  | EUR/MWh
Single Sensitivity

## Single DLG (hidden)
Single Sensitivity Analysis
OK
Cancel
Select Sensitivity Input
Minimun
Maximum
of 33,58 EUR/MWh =

## SingleSens Tab (hidden)
| Variable Rev. Electr. | EUR/MWh | 32 | 1 | X-Wahl |  |  |  |  | X-AchseA
| Single_Tit_List |  |  |  | 4 |  |  |  |  | 30.2203
| 18 |  | Var A |  | 10 |  |  |  |  | 36.9359 | NPV.A | IRR.A | AMZ.A | SEK.A
1 | Electrical Net Power | MW | 700 | 1 | 0% | 0% | 0% | -12 | 0% | 0
2 | El. Full Load oper. Hours | h/a | 7500 | 1 | 50% | 50% | 1% | -6 | 10% | 16.789
3 | El. net Efficiency | % | 54% | 1 | 75% | 75% | 2% | -4 | 20% | 25.1836
4 | Investment Volume | mill. EUR | 320 | 1 | 90% | 90% | 3% | -3 | 30% | 30.2203 | 114.9863 | 0.21045 | 7.0886 | 30.0013
5 | Personnel | mill. EUR/a | 2.5 | 1 | 95% | 95% | 4% | -2 | 40% | 31.8992 | 165.124 | 0.25542 | 5.6234 | 30.0013
6 | Insurance | mill. EUR/a | 2 | 1 | 99% | 99% | 5% | -1 | 50% | 33.2423 | 205.2341 | 0.29109 | 4.8307 | 30.0013
7 | Fixed Maintenance | mill. EUR/a | 13 | 1 | 100% | 100% | 6% | 0 | 60% | 33.5781 | 215.2617 | 0.3 | 4.6652 | 30.0013
8 | Other Costs A | mill. EUR/a | 0 | 1 | 101% | 101% | 7% | 1 | 67% | 33.9138 | 225.2892 | 0.30891 | 4.5111 | 30.0013
9 | Other Costs B | mill. EUR/a | 0 | 1 | 105% | 105% | 8% | 2 | 70% | 35.257 | 265.3994 | 0.34463 | 3.9875 | 30.0013
10 | Variable Maintenance | EUR/MWh | 0.1 | 1 | 110% | 110% | 9% | 3 | 75% | 36.9359 | 315.5371 | 0.38955 | 3.4784 | 30.0013
11 | Fuel | EUR/GJ | 2.5 | 1 | 125% | 125% | 10% | 4 | 80% | 41.9726
12 | Consumables | EUR/MWh | 0.25 | 1 | 150% | 150% | 15% | 6 | 90% | 50.3671
13 | Fixed Revenues Electricity | mill. EUR/a | 0 | 1 | 200% | 200% | 20% | 12 | 100% | 67.1561
14 |  |  |  | 1
15 | Other Revenues D | mill. EUR/a | 0 | 1
16 | Other Revenues E | mill. EUR/a | 0 | 1
17 | Other Revenues F | mill. EUR/a | 0 | 1
18 | Variable Rev. Electr. | EUR/MWh | 32 | 1
19 |  |  |  | 1
20 | Debt Interest Rate | % | 8% | 2
21 | Discount Rate | % | 10% | 2
22 | Hand over (End of Commiss.) | Date | 2007-01-01 | 3
23 | Debt Share 1 | % | 40% | 4
24 |  |  |  | 1
25 |  |  |  | 1
Debt Payback Period
Equity interest Rate
Operating Life

## Sprache (hidden)
Deutsch
English
Español
Français
|  |  | 2 | 1 | 2 | 3 | 4
Blatt | Zeile | Spalte | English | Deutsch | English | Español | Francais
alle |  |  | mill. EUR | Mio. EUR | mill. EUR | mill. EUR
alle |  |  | EUR/MWh | EUR/MWh | EUR/MWh | EUR/MWh
alle |  |  | EUR/GJ | EUR/GJ | EUR/GJ | EUR/GJ
alle |  |  | Present value | Barwert | Present value | Valor presente
alle |  |  | Present value 1.1.2005 | Barwert 1.1.2005 | Present value 1.1.2005 | Valor presente 1.1.2005
SEK | 31 | 5 | Levelized | Mittlere SEK | Levelized | Promedio
Results CF |  |  | Net Present Value at 1.1.2005 | Kapitalwert am 1.1.2005 | Net Present Value at 1.1.2005 | Valor presente neto 1.1.2005
Results CF |  |  | Internal Rate of Return till 2015 | Interne Verzinsung bis 2015 | Internal Rate of Return till 2015 | Retorno interno hasta 2015
Results CF |  |  | Internal Rate of Return till 2026 | Interne Verzinsung bis 2026 | Internal Rate of Return till 2026 | Retorno interno hasta 2026
Results CF A, D |  |  | Pay Off Time from 1.1.2007 | Amortisationszeit ab 1.1.2007 | Pay Off Time from 1.1.2007 | Periodo Amort. de 1.1.2007
Input | 2 | 1 | Currency | Währung | Currency | Moneda
Input | 3 | 1 | Start Date | Startpunkt | Start Date | Fecha inicio
Input | 4 | 1 | Period under Review [Years] | Betrachtungsdauer ab Startpunkt [Jahre] | Period under Review [Years] | Periodo contemplado [años]
Input | 5 | 1 | Discount Rate | Diskontierungszinssatz | Discount Rate | Tasa de descuento
Input | 6 | 1 | Date for Present Value | Barwertzeitpunkt | Date for Present Value | Fecha para valor presente
Input | 7 | 1 | Income Tax Rate | Steuersatz auf Gewinn | Income Tax Rate | Tasa de impuesto
Input | 11 | 1 | Power | Leistung | Power | Potencia
Input | 12 | 1 | Electrical Net Power | Elektrische Nettoleistung | Electrical Net Power | Potencia eléctrica neto
Input | 13 | 1 | El. Full Load oper. Hours | Elektrische Vollastbetriebsstunden | El. Full Load oper. Hours | Horas de operación
Input | 14 | 1 | El. net Efficiency | Elektrischer Nettowirkungsgrad | El. net Efficiency | Eficiencia elec. neto
Input | 15 | 1 | Thermal Net Power | Thermische Nettoleistung | Thermal Net Power | Potencia vapor neto
Input | 16 | 1 | Th. Operat. Hours | Thermische Vollastbetriebsstunden | Th. Operat. Hours | Horas de oper. vapor
Input | 17 | 1 | Operating Costs | Betriebskosten | Operating Costs | Costos de operación
Input | 18 | 1 | Personnel | Personal | Personnel | Personal
Input | 19 | 1 | Insurance | Versicherung | Insurance | Seguros
Input | 20 | 1 | Fixed Maintenance | Fixe Instandhaltung | Fixed Maintenance | Mantenimiento fijo
Input | 19 | 1 | Variable Maintenance | Variable Instandhaltung | Variable Maintenance | Mantenimiento variable
Input | 24 | 1 | Fuel | Brennstoff | Fuel | Combustible
Input | 25 | 1 | Consumables | Betriebsmittel | Consumables | Consumibles
Input | 26 | 1 | Operating Revenues | Betriebserlöse | Operating Revenues | Ingresos operación
Input | 27 | 1 | Fixed Revenues Electricity | Fixe Erlöse Strom | Fixed Revenues Electricity | Ingresos elec. fijos
Input | 28 | 1 | Fixed Revenues Heat | Fixe Erlöse Wärme | Fixed Revenues Heat | Ingresos vapor fijos
Input | 32 | 1 | Variable Rev. Electr. | Variable Erlöse Strom | Variable Rev. Electr. | Ingresos elec. variables
Input | 33 | 1 | Variable Rev. Heat | Variable Erlöse Wärme | Variable Rev. Heat | Ingresos vapor variables
Input | 34 | 1 | Investment | Investition | Investment | Inversión
Input | 35 | 1 | Investment Volume | Investitionsvolumen | Investment Volume | Volumen de inversión
Input | 36 | 1 | Lifetime | Nutzungsdauer | Lifetime | Vida técnica
Input | 37 | 1 | Hand over (End of Commiss.) | Übergabe (=Ende Inbetriebsetzung) | Hand over (End of Commiss.) | Entrega (fin de comis.)
Input | 38 | 1 | Lifetime from Commiss. | Nutzungsdauer ab IBS | Lifetime from Commiss. | Vida técnica desde comis.
Input | 39 | 1 | Financing | Finanzierung | Financing | Financiamiento
Input | 40 | 1 | Debt Share | Fremdkapitalanteil | Debt Share | Parte finaciada
Input | 41 | 1 | Debt Interest Rate | Fremdkapitalzinssatz | Debt Interest Rate | Tasa interes crédito
Input | 42 | 1 | Start of Debt Service | Tilgung Beginn | Start of Debt Service | Inicio de devolución
Input | 43 | 1 | Debt Service | Tilgungsdauer | Debt Service | Pago de credito
Input | 44 | 1 | Tax Depreciation Time | Abschreibungsdauer Steuer | Tax Depreciation Time | Periodo de depreciación
Input | 45 | 1 | Calc. Equity Costs | Kalkulat. Eigenkapitalkosten | Calc. Equity Costs | Costos calcul. de capital propio
Input | 46 | 1 | Equity Share | Eigenkapitalanteil | Equity Share | Parte capital propio
Input | 47 | 1 | Interest Rate | Zinssatz | Interest Rate | Tasa de interés
Input | 48 | 1 | Equity Service | Tilgungsdauer (annuitätisch) | Equity Service | Devolución de recursos
Input | 10 | 4 | Now | Jetzt | Now | Ahora
Input | 10 | 5 | Then | Neu | Then | Después
Input | 11 | 4 | Value | Wert | Value | Valor
Input | 11 | 6 | Min % | Min % | Min % | Min %
Input | 11 | 7 | Max % | Max % | Max % | Max %
Input | 11 | 8 | Distr. | Vert | Distr. | Distr.
Input | 17 | 9 | Incrs. | Steig. | Incrs. | Incrs.
Input | 36 | 6 | Payment Schedule | Zahlungsplan | Payment Schedule | Programa de pagos
Input | 37 | 2 | Date | Datum | Date | Fecha
Input | 37 | 6 | Months bef. Comm. | Monate vor Übergabe | Months bef. Comm. | Meses antes de entrega
Input | 38 | 2 | Years | Jahre | Years | Años
Input | 45 | 6 | Months after Comm. | Monate nach Übergabe | Months after Comm. | Meses desp. entrega
Input | 53 | 6 | Total | Summe | Total | Total
Results CF A | 5 | 1 | Debt | Fremdkapital | Debt | Crédito
Results CF A | 6 | 1 | Equity | Eigenkapital | Equity | Recursos propios
Results CF A | 9 | 3 | Cash Flow and Net Present Value | Cash Flow und Kapitalwert | Cash Flow and Net Present Value | Flujo efect. y valor presente neto
Results EPC A | 4 | 1 | Electricity Production Cost | Stromerzeugungskosten | Electricity Production Cost | Costos generación electr.
Results EPC A | 5 | 1 | Capital Costs | Kapitalkosten | Capital Costs | Costos de capital
Results EPC A | 6 | 1 | Fixed Operating Costs | Betriebskosten (Fix) | Fixed Operating Costs | Costos fijos de operación
Results EPC A | 7 | 1 | Variable Operating Costs | Betriebskosten (Variab.) | Variable Operating Costs | Costos variables de operación
Results EPC A | 8 | 1 | Credit Note from Heat | Gutschrift Wärmeerlös | Credit Note from Heat | Abono de vapor
BE A | 5 | 3 | Operating Result | Betriebsergebnis | Operating Result | Resultado operacional
RoI A | 5 | 3 | Return on Investment | Rentabilität | Return on Investment | Retorno de inversión
RoI A | 10 | 3 | Interest during construction | Bauzeitzinsen FK | Interest during construction | Interés durante constr.
RoI A | 13 | 3 | Debt Service | Fremdkapitaldienst | Debt Service | Pago de credito
RoI A | 14 | 3 | Debt Payback | Fremdkapitaltilgung | Debt Payback | Devolución de credito
RoI A | 15 | 3 | Debt Interest | Fremdkapitalzins | Debt Interest | Interés de credito
RoI A | 18 | 3 | Income Tax Rate and Profit | Ertragssteuer und Gewinn | Income Tax Rate and Profit | Impuestos sobre renta y ganancias
RoI A | 20 | 3 | Depreciation | Abschreibung | Depreciation | Depreciación
RoI A | 22 | 3 | Profit before Tax | Gewinn vor Steuer | Profit before Tax | Ganancias antes de IR
RoI A | 23 | 3 | Income Tax | Ertragssteuer | Income Tax | Impuesto sobre Renta
RoI A | 24 | 3 | Profit after Tax | Gewinn nach Steuer | Profit after Tax | Ganancias despues de IR
RoI A | 26 | 3 | Cash Flow | Cash flow | Cash Flow | Flujo efectivo
RoI A | 49 | 3 | Income from Credit | Fremdkapitalaufnahme | Income from Credit | Ingresos del crédito
RoI A | 53 | 3 | Cash Flow, accumulated | Cash flow, kumuliert | Cash Flow, accumulated | Flujo efect., acumulado
RoI A | 54 | 3 | Internal Rate of Return | Interne Verzinsung | Internal Rate of Return | Tasa interna de retorno
RoI A | 55 | 3 | Present Value of Cash Flow | Barwert von Cash flow | Present Value of Cash Flow | Valor presente del flujo efect.
RoI A | 56 | 3 | Net Present Value | Kapitalwert | Net Present Value | Valor presente neto
RoI A | 58 | 3 | Debt Service Cover Ratio | Schuldendeckungsrate | Debt Service Cover Ratio | Debt Service Cover Ratio
RoI A | 61 | 3 | Cash Flow for DSCR | Cash flow für Schuldendeckung | Cash Flow for DSCR | Flujo efect. para DSCR
EPC A | 23 | 3 | Total Costs | Vollkosten | Total Costs | Costos totales
EPC A | 28 | 3 | Revenues from Heat | Wärmeerlös | Revenues from Heat | Ingresos del vapor
EPC A | 57 | 3 | Electricity Production | Stromproduktion | Electricity Production | Generación de electricidad
Tab |  |  | Details Power Months | Details Leistung Monate | Details Power Months | Detalle potencía meses
Tab |  |  | Details Power Years | Details Leistung Jahre | Details Power Years | Detalle potencía años
Tab |  |  | Details Power Off | Details Leistung Aus | Details Power Off | Sin detalles potencia
Tab |  |  | Details Costs/Rev Months | Details Kosten/Erlöse Monate | Details Costs/Rev Months | Detalles costos/ingresos meses
Tab |  |  | Details Costs/Rev Years | Details Kosten/Erlöse Jahre | Details Costs/Rev Years | Detalles costos/ngresos años
Tab |  |  | Details Costs/Rev Off | Details Kosten/Erlöse Aus | Details Costs/Rev Off | Sin detalles costos/ingresos
Tab |  |  | Details Increase Years | Details Steigerung Jahre | Details Increase Years | Detalles increm. años
Tab |  |  | Details Increase Off | Details Steigerung Aus | Details Increase Off | Sin detalles incrm
Input | 11 | 4 | 457/kW | 457/kW | 457/kW | 457/kW
Results CF A |  |  | Capital Requirement | Kapitalbedarf | Capital Requirement | Capital requerido
Tab |  |  | Calculate only Option A | Nur Variante A berechnen | Calculate only Option A | Calcular solo opción A
Tab |  |  | Calculate Options A and B | Varianten A und B berechnen | Calculate Options A and B | Calcular Opciones A y B
Tab |  |  | Calculate Options A, B and Delta | Varianten A, B und Delta berechnen | Calculate Options A, B and Delta | Calcular opciones A, B y Delta
Tab |  |  | Net Present Value | Kapitalwert | Net Present Value | Valor presente neto
Tab |  |  | Internal Rate of Return | Interne Verzinsung | Internal Rate of Return | Tasa interna de retorno
Tab |  |  | Pay Off Time | Amortisationszeit | Pay Off Time | Periodo amort.
Tab |  |  | Electricity production costs | Stromerzeugungskosten | Electricity production costs | Costos de generación de energía
Tab |  |  | Pay Off Time from NPV accumulated | Amortisationszeit aus Kapitalwert akkumuliert | Pay Off Time from NPV accumulated | Periodo amort. del VPN acumulado
Tab |  |  | Pay Off Time from Cashflow weighted | Amortisationszeit aus Cashflow gewichtet | Pay Off Time from Cashflow weighted | Periodo amort. del flujo efect.
Tab |  |  | Pay Off Time from NPV weighted | Amortisationszeit aus Kapitalwert gewichtet | Pay Off Time from NPV weighted | Periodo amort. del VPN acumulado
Tab |  |  | Old Plant and New Plant | Altanlage und Neuanlage | Old Plant and New Plant | Planta exist y planta nueva
Tab |  |  | New Plant | Neuanlage | New Plant | Nueva planta
Tab |  |  | Interest during construction (compound) | Bauzeitzinsen auf FK (Zinseszins) | Interest during construction (compound) | Interés durante construcción (compuesto)
Tab |  |  | Interest during construction | Bauzeitzinsen auf FK | Interest during construction | Interés durante construcción
Tab |  |  | No interest during construction | Keine Bauzeitzinsen | No interest during construction | No interés durante construcción
Tab |  |  | Calculate | Berechnen | Calculate | Calcular
Tab |  |  | Return on Investment Analysis | Wirtschaftlichkeitsanalyse | Return on Investment Analysis | Analisis de Retorno de Inversión
Tab |  |  | With Heat Production | Mit Wärmeauskopplung | With Heat Production | Con extracción de vapor
Tab |  |  | Without Heat Production | Ohne Wärmeauskopplung | Without Heat Production | Sin extracción de vapor
Tab |  |  | Annuity | Annuität | Annuity | Pagos fijos
Tab |  |  | Straight line | Linear | Straight line | Pagos lineares
SingleSens |  |  | Sensitivity Analysis | Sensitivitätsanalyse | Sensitivity Analysis | Analisis de Sensitividad
SingleSens |  |  | Pay Off Time | Amortisationszeit | Pay Off Time | Periodo de amortización

## Tab (hidden)
3 |  | 1 | 11 | 1.1172 | Sekunden | PG-ROI LIGHT EXAMPLE | 0
Electrical Net Power |  | EUR/GJ | StartJahr | 0.054688 | Definition |  | F:\41-PG-ROI\20 LIGHT VERSION
El. Full Load oper. Hours |  | EUR/mBTU | 2005-01-01 | 0.0078125 | Input MWh, Costs, Revenues |  | PG-ROI LIGHT EXAMPLE.TXT
El. net Efficiency |  |  | 1995-01-01 | 0.09375 | Calculate Profit and Roi
Thermal Net Power |  | 1 | 1996-01-01 | 0.71875 | Calculate IRR
Th. Operat. Hours |  | % | 1997-01-01 | 0.03125 | Calculate LEPC
Personnel |  | % | 1998-01-01 | 0.046875 | Output Profit
Insurance |  | kJ/kWh | 1999-01-01 | 0.078125 | Output ROI
Fixed Maintenance |  |  | 2000-01-01 | 0.085938 | Output LEPC
Other Costs A |  |  | 2001-01-01
Other Costs B |  |  | 2002-01-01
Variable Maintenance |  |  | 2003-01-01
Fuel |  |  | 2004-01-01
Consumables |  |  | 2005-01-01
Fixed Revenues Electricity |  |  | 2006-01-01
Fixed Revenues Heat |  |  | 2007-01-01
Other Revenues D |  |  | 2008-01-01
Other Revenues E |  |  | 2009-01-01
Other Revenues F |  |  | 2010-01-01
Variable Rev. Electr. |  |  | 2011-01-01
Variable Rev. Heat |  |  | 2012-01-01
Investment Volume |  |  | 2013-01-01
2014-01-01
2015-01-01
Zielgröße
3
Net Present Value | 168.1353 | 168.135283 mill. EUR
Internal Rate of Return | 0.2581 | 026%
Pay Off Time | 5.5545 | 006 a
Electricity production costs | 30.0013 | 30.001297 EUR/MWh
Eingabegröße

## Daten Export DLG (hidden)
Data Export
OK
Cancel
File Name
F:\41-PG-ROI\20 LIGHT VERSION
.TXT
Browse

## Daten Import DLG (hidden)
Data Import
OK
Cancel
F:\41-PG-ROI\20 LIGHT VERSION
Browse

## ZW DLG (hidden)
Goal-Seek
OK
Cancel
Value to be reached
Goal
Value to be changed
Start value
El. Full Load oper. Hours